## Sheet1
source_block | raw_item | raw_spec | category | element | processes | coating | fire_protection | notes | confidence | properties.grade | properties.execution_class | properties.standard
1 | Steel fabricated to exc class 2, all steel grade S355 | Steel fabricated to exc class 2, all steel grade S355. Steel erected in accordance with the NSSSBC 5th Edition | STRUCTURAL_STEEL | Structural Steel | fabricated, erected |  |  |  | high | S355 | EXC2 | NSSSBC 5th Edition
1 | INTUMESCENT FIRE PROTECTION | INTUMESCENT FIRE PROTECTION | STRUCTURAL_STEEL | Intumescent Fire Protection | applied | Intumescent | 60 minutes |  | medium
1 | Corrosion protection paint suitable for C2 environment category | Corrosion protection paint suitable for C2 environment category | STRUCTURAL_STEEL | Corrosion Protection Paint | applied | Painted |  | C2 environment category | medium
1 | STEEL DECKING | STEEL DECKING | STRUCTURAL_STEEL | Steel Decking | supplied, installed |  |  |  | medium
1 | Holding down bolt Assemblies etc | Holding down bolt Assemblies etc | FIXINGS | Holding Down Bolts | supplied |  |  |  | medium
1 | SECONDARY STEEL | SECONDARY STEEL | SECONDARY_STEEL | Secondary Steel | fabricated, erected |  |  |  | medium
2 | Structural Steel | Steel fabricated to exc class 2, all steel grade S355. Steel erected in accordance with the NSSSBC 5th Edition | STRUCTURAL_STEEL | Structural Steel | fabricated, erected |  |  |  | high | S355 | EXC2 | NSSSBC 5th Edition
2 | Shotblast, galvanised to EN ISO 1461 | Shotblast, galvanised to EN ISO 1461 | STRUCTURAL_STEEL | Galvanised Structural Steel | shotblast, galvanised | Galvanized |  |  | high |  |  | EN ISO 1461
2 | DCH Intumescent Paint 1 Hr | DCH Intumescent Paint 1 Hr | STRUCTURAL_STEEL | Intumescent Painted Structural Steel | painted | Painted | Intumescent 60min |  | high
2 | SECONDARY STEEL | SECONDARY STEEL | SECONDARY_STEEL | Secondary Steel | fabricated |  |  |  | medium
2 | Holding down bolt assemblies | Holding down bolt assemblies | FIXINGS | Holding Down Bolts | supplied |  |  |  | medium
2 | STEEL DECKING | STEEL DECKING | CLADDING | Steel Decking | supplied, installed |  |  |  | medium
3 | Structural Steel | Steel fabricated to exc class 2, all steel grade S355. Steel erected in accordance with the NSSSBC 5th Edition | STRUCTURAL_STEEL | Structural Steel | fabricated, erected |  |  |  | high | S355 | EXC2 | NSSSBC 5th Edition
3 | Galvanised Structural Steel | Shotblast, galvanised to EN ISO 1461 | STRUCTURAL_STEEL | Galvanised Structural Steel | shotblast, galvanised | Galvanized |  |  | high |  |  | EN ISO 1461
3 | Intumescent Fire Protected Structural Steel | INTUMESCENT FIRE PROTECTION | STRUCTURAL_STEEL | Intumescent Fire Protected Structural Steel | intumescent fire protected |  | Intumescent |  | medium
3 | Secondary Steel | SECONDARY STEEL | SECONDARY_STEEL | Secondary Steel | fabricated |  |  |  | low
3 | Steel Decking | STEEL DECKING | STRUCTURAL_STEEL | Steel Decking | supplied, installed |  |  | TATA D60x1.2mm Roof Decking | medium
3 | Cat Ladders | CAT LADDERS | SECONDARY_STEEL | Cat Ladders | fabricated |  |  |  | low
3 | Railings | Railings | SECONDARY_STEEL | Railings | fabricated |  |  |  | low
3 | Open Mesh Grating | 30mm open mesh grating | SECONDARY_STEEL | Open Mesh Grating | supplied |  |  |  | low
3 | Holding Down Bolt Assemblies | Supply Holding down bolt assemblies | FIXINGS | Holding Down Bolt Assemblies | supplied |  |  |  | low
3 | Bollards | Bollards | SECONDARY_STEEL | Bollards | supplied |  |  |  | low
3 | Stairs over roof parapets | Stairs over roof parapets | SECONDARY_STEEL | Stairs over roof parapets | fabricated |  |  |  | low
3 | Cooling Tower Stairs | Cooling Tower Stairs | SECONDARY_STEEL | Cooling Tower Stairs | fabricated |  |  |  | low
3 | External Stair | External Stair (Ground to Roof level) DCH | SECONDARY_STEEL | External Stair | fabricated |  |  |  | low
3 | Gantry Emergency Stairs | Gantry Emergency Stairs | SECONDARY_STEEL | Gantry Emergency Stairs | fabricated |  |  |  | low
4 | Structural Steel | Steel fabricated to exc class 2, all steel grade S355. Steel erected in accordance with the NSSSBC 5th Edition | STRUCTURAL_STEEL | Structural Steel | fabricated, erected |  |  |  | high | S355 | EXC2 | NSSSBC 5th Edition
4 | STEEL DECKING | Supply and Installation TATA D60x1.2mm Roof Decking | STRUCTURAL_STEEL | Steel Decking | supplied, installed |  |  |  | medium
4 | Holding down bolt Assemblies | Supply Holding down bolt assemblies - MCP, Supply Holding down bolt assemblies - USS, Supply Holding down bolt assemblies - S25 | SECONDARY_STEEL | Holding Down Bolt Assemblies | supplied |  |  |  | medium
4 | INTUMESCENT FIRE PROTECTION | DCH Intumescent Paint 1 Hr | STRUCTURAL_STEEL | Intumescent Fire Protection | applied | Intumescent Paint | 1 Hour |  | high
4 | Galvanising | Shotblast, galvanised to EN ISO 1461 | STRUCTURAL_STEEL | Galvanising | shotblasted, galvanised | Galvanised |  |  | high |  |  | EN ISO 1461
4 | Bumper Railings, Cat Ladder, Bollards, Stairs, Railings, Grating | Bumper Railings infront of Chillers, CAT LADDERS, Bollards, Stairs over roof parapets, Railings, 30mm open mesh grating | SECONDARY_STEEL | Secondary Steelwork | fabricated, erected |  |  |  | medium
5 | Structural Steel | 15.1.001 ¦ S03-A2000 ¦ CSA ¦ PH1 ¦ (Shell A) Structural Steel ¦ 7.23051 ¦ tn ¦ Str Steel (P) | STRUCTURAL_STEEL | Structural Steel | fabricated |  |  |  | low
5 | Structural Steel H.D.A. | 15.4.005 ¦ S03-A2000 ¦ CSA ¦ PH1 ¦ (Shell A) Structural Steel H.D.A. ¦ 77.92 ¦ nr ¦ Str Steel (P) | STRUCTURAL_STEEL | Structural Steel | fabricated |  |  | H.D.A. | low
5 | Galvanising | S03-A2000 ¦ CSA ¦ PH1 ¦ Galvanising ¦ tn ¦ Str Steel (P) | SECONDARY_STEEL | Galvanising | galvanised | Galvanised |  |  | medium
5 | Shotblast, galvanised to EN ISO 1461 | 15.5.015 ¦ S03-A2000 ¦ CSA ¦ PH1 ¦ Shotblast, galvanised to EN ISO 1461 ¦ 7.23051 ¦ tn ¦ Str Steel (P) | SECONDARY_STEEL | Galvanising | shotblast, galvanised | Galvanised |  |  | medium |  |  | EN ISO 1461
5 | Surface touchup after erection | 15.4.010 ¦ S03-A2000 ¦ CSA ¦ PH1 ¦ Surface touchup after erection ¦ 1.0 ¦ nr ¦ Str Steel (P) | SECONDARY_STEEL | Surface Touchup | erected, touchup |  |  |  | low